## 1c. Desal water
Desalination Water Plants
Year | Month | Antigua & Barbuda | Antigua & Barbuda | Belize | Belize | Cuba | Cuba | Grenada | Grenada | Saint Kitts and Nevis | Saint Lucia | Saint Lucia | Saint Vincent and the Grenadines | Saint Vincent and the Grenadines | Trinidad and Tobago | Trinidad and Tobago
|  | Plant | Capacity | Plant | Capacity | Plant | Capacity | Plant | Capacity | Plant | Plant | Capacity | Plant | Capacity | Plant | Capacity
|  |  | Volume |  | Volume |  | Volume |  | Volume |  |  | Volume |  | Volume |  | Volume
|  |  | Imp. Ga/day |  | Imp. Ga/day |  | Imp. Ga/day |  | Imp. Ga/day |  |  | Imp. Ga/day
|  |  | Water Division, Antigua Public Utilities Authority | Belize Water Services Limited |  | Instituto Nacional de Recursos Hidráulicos INRH (2000). Plantas desalinizadoras. (National Institute of Hydraulic Resources NIHR (2000). Desalination Plants) |  |  | Grenada Strategic Program for Resilience (SPRC) March 2011 |  | Caribbean Environmental Health Institute (CEHI). Report for the Study on The Evaluation of Desalination Plants in The Caribbean |  |  |  |  | Desalcott Trinidad & Tobago Ltd. 2012. <http://desalcott.com/about-us.html> Accessed June 3rd 2012 ¦Emmanuel-Rodriguez G. 2007. Water & Wastewater: Solving Trinidad & Tobago’s watersupply through establishment of additional desalination plants – practical solution? <http://www.ric.org.tt/OOCUR/papers/water_and_wastewater.pdf> Accessed June 3rd 2012
|  |  | Plants are reverse osmosis |  | Plants are reverse osmosis |  | Cayo Largo, Covarrubia and Jibacoa are for tourism supply. Manati Harbour and Guamo Pier are for household supply |  |  | Marriott Hotel has a desalination plant for its uses |  | TiKaye Plant is a brackish water reserve osmosis membrane unit ¦ Desalination plants are used by at least 2 resorts, Sandals Grande St. Lucian Beach Resort and Spa on the Pigeon Island Causeway to make up for shortfall in supply by WASCO. Sandals, mixes the desalinated water with that supplied by WASCO, 50:50 using membranes at 6000 psi. They do not treat with chlorine, but they do use an anti-scalant and treat periodically with acid and alkaline solutions. |  | Bequia Desalination Plant is a reverse osmosis plant |  | Plant is a reverse osmosis
|  | Antigua mainland | 600000 | San Pedro, Ambergris Caye | 349723.013 | Cayo Largo | 84248 | Saint Georges University | 120000 |  | Ti Kaye | 6000 | Bequia Desalination | 35000 | Desalcott Desalination Plant | 33980000
|  | Antigua mainland | 600000 | Cayle Caulker | 124901.076 | Jibacoa | 84248 | La Source Resort | 20000
|  | Antigua mainland | 3400000 |  |  | Covarrubias | 39594.4 | George Cohen (Calivigny Island) | 180000
|  | Barbuda mainland | 60000 |  |  | Manati Harbour | 2529.6
|  | Barbuda mainland | 60000 |  |  | Guamo Pier | 3365.528
|  | Barbuda mainland | 100000